## General Summary
JOB NO. NWSC/OT/22/2020/2021
PROPOSED CONSTRUCTION WORKS FOR PIPES STORE IN KAMAKWA WATER TREATMENT PLANT - LOT 1A |  |  | GENERAL SUMMARY (BUILDERS WORK)
Kshs
7.0 | Brought to Summary from Page 1
Brought to Summary from Page 2
Brought to Summary from Page 3
Brought to Summary from Page 4
Brought to Summary from Page 5
Brought to Summary from Page 6
| TOTAL COST BROUGHT TO SUMMARY |  |  |  | .
Add 10% Contingencies
Sub Total 1
Add 16% VAT
Sub- Total 2- Lot 1A to Grand Summary
PROPOSED CONSTRUCTION WORKS FOR EXTENSION OF CHLORINE DOSING ROOM IN KAMAKWA WATER TREATMENT PLANT - LOT 1B
GENERAL SUMMARY (BUILDERS WORK)
Kshs
| Brought to Summary from Page 1 |  |  | 0
Brought to Summary from Page 2
Brought to Summary from Page 3
Brought to Summary from Page 4
Brought to Summary from Page 5
Brought to Summary from Page 6
TOTAL COST BROUGHT TO SUMMARY
Add 10% Contingencies
Sub Total 1
Add 16% VAT
Sub- Total 2- Lot 1B to Grand Summary
GRAND SUMMARY
Sub- Total 2- Lot 1A brought to Grand Summary
Sub- Total 2- Lot 1B brought to Grand Summary
Grand Total to Form of Tender
Signed for and on behalf of:-
(CONTRACTOR)
DESIGNATION:- …………………………….
………………………………………………
| ……………………………………………… | DATE:- ……………………………………….
ADDRESS:- …………………………………
………………………………………………

## Kamakwa Store
JOB NO. NWSC/OT/22/2020/2021
KAMAKWA PIPES STORE - LOT 1A
ITEM | DESCRIPTION | UNIT | QTY | RATE (KShs) | AMOUNT (KShs)
1 | BILL 1 - PRELIMINARY AND GENERAL ITEMS
Provisional Sums ( Special requirements)
A | Provide Kshs. 100,000 for site setup establishment and removal on completion. Mobilization and demobilization of equipment and personel and disposal of all waste material away from site as directed by the project Engineer. | Ls | 1
B | Provide Kshs. 20,000 for any costs associated with compliance with Environmental ,Health and Safety requirements. | Ls | 1
C | Add 10% for contractor's Markup on provisional sum for items A&B above | %
Sub-Total page 01 Taken to collection page
ITEM | DESRIPTION | UNIT | QTY | RATE (Kshs) | AMOUNT (Kshs)
2 | 2.00: SUBSTRUCTURE
ELEMENT N0. 1
SUBSTRUCTURE (ALL PROVISIONAL)
A. | Excavate oversite average 150 mm deep to remove vegetable top soil and including cutting of shrubs, bushes and trees less than 0.5m diameter all to specifications and cart away to an approved Tip by Local Authority. | S.M. | 312
Excavations including maintaining and supporting sides, keeping free from water, mud and fallen
B. | Excavate to reduced level soil in the building area to average depth 1 m from the stripped level and cart to spoil/stock pile for re-use. | C.M. | 180
C. | Foundation trenches 0 - 1.50 m deep from reduced levels. | C.M. | 46
D. | For Column Bases 0 - 1.50 m deep from
| reduced levels. | C.M. | 80
E. | Extra over excavation for excavating in Hard rock. | C.M. | 4
F. | Ditto Soft Rock | C.M. | 4
Disposal
G. | Backfill selected excavated or imported materials to fill the uneven ground surface and around the foundations ( Rate to include the cost of mechanical compaction to 100% MDD)
|  | C.M. | 120
H. | Load, wheel and deposit surplus excavated materials to an approved dumping site by Local Authority | C.M. | 120
I. | 300 mm Thick layers of approved hardcore filling well compacted including 50 mm murram blinding. | S.M. | 180
Damp-proof membrane
J. | 1000 Gauge polythene sheeting laid over hardcore with 300 mm side and end laps (measured nett-no allowance for laps). | S.M. | 180
Anti-termite treatment
K. | Chemical anti-termite treatment as "Gladiator" or other approved insecticide to surfaces of hardcore and tops of walls. | S.M. | 180
Concrete work
Mass concrete class 15/20 aggregate as
described in:-
L. | 100 mm Thick blinding under strip foundations and Bases. | S.M. | 45
Sub-Total page 02 Taken to collection page
ITEM | DESRIPTION | UNIT | QTY | RATE (Kshs) | AMOUNT (Kshs)
Reinforced concrete class 25/20 aggregate as
described in:-
M. | Strip Foundation /Ground Beams | C.M. | 12
N. | Columns and Column Bases | C.M. | 11
O | 150 mm Thick grade slab. | CM | 29
Reinforcement (Provisional)
High tensile steel reinforcement to B.S 4461 and 4449
P | D16 Diameter bars | KG. | 262
Q | D12 Diameter bars | KG. | 720
R | D8 Diameter bars | KG. | 84
Mesh fabric reinforcement
S | B.R.C mesh fabric reinforcement ref. A 142 laid in surfaces bed with 300 mm side and end laps (measured nett-no allowance for laps). | S.M. | 180
Sawn formwork as described to:-
T | Sides of strip foundations / ground beams | S.M. | 13
U | Sides of Columns and Column Bases. | S.M. | 46
V | Sides of grade slab 150 mm thick. | SM | 14
150mm natural and hard quarry stones to foundation walling in cement and sand (1:3) mortar and even smoothened on the both sides as described and including reinforcement at each alternate course with hoop ironall materials and workmanship to Approval of the Engineer:-
W | 150 mm Thick walling reinforced at each alternate course with hoop iron. | S.M. | 87
Bituminous felt damp proof course laid on and
levelled in cement sand mortar (1:4) under:-
X | 150 mm Thick walls. | L.M. | 58
Paving slabs
Y | 600 x 600 x 50 mm Precast concrete paving slabs bedded, jointed and grouted in cement and sand (1:1)onto and including 100mm thick compacted murram and 150 x 50mm Precast concete Edging. | S.M. | 69.6
Sub- Total Page 3 Taken to Summary Page
ITEM | DESRIPTION | UNIT | QTY | RATE (Kshs) | AMOUNT (Kshs)
3 | 3.0: R. C. SUPERSTRUCTURE
Reinforced concrete class 25/20 aggregate as described in:-
A. | Beams | C.M. | 14
B. | Columns | C.M. | 7.1
Reinforcement (Provisional)
High tensile reinforcement to B.S. 4461 as described
C. | 16mm Diameter bars | KG. | 1349.9
D. | 12 mm Diameter bars | KG. | 216
E | 8 mm Diameter bars | KG | 613
Smooth surface Marine Ply formwork as described to:-
F | Sides and soffits of beams, ring beams and lintels. | S.M. | 146
G | Sides columns | S.M. | 100.8
4 | 4.0: WALLING
Walling
150mm Ndarugu machine dressed natural quarry stones to walling in cement and sand (1:3) mortar to be keypointed on the external side and flash-smoothened even on the internal side as described and including reinforcement at each alternate course with hoop iron all materials and workmanship to Approval of the engineer:-
A. | 150 mm Thick walling externally | S.M. | 350
B. | 150 mm Ditto gable walls | S.M. | 20.8
| Sub- Total Page 4 Taken to Summary Page |  |  |  | 0
ITEM | DESRIPTION | UNIT | QTY | RATE (Kshs) | AMOUNT (Kshs)
5 | 5.0: ROOFING & RAINWATER DISPOSAL
Roof covering
A | 26 Gauge Prepainted BP760 box profiled roofing sheets effective 762mm width and minimum 200 mm end laps fixed to metal purlins with and including hook bolts, self tapping screws, washers and nuts at 600mm c/c to Engineers details and including fixing, POLYCLOSURES AND FOAM FILLERS all as supplied by approved source. | S.M. | 245
A. | Comprising 0.4mm thick (26 gauge) prepainted Super V profile sheets to both roof, side and gable cladding complete with self-drilling screws, flashings and all fixtures necessary for erection. | S.M.
B | Ridge and hip caps guage 26 ditto. | L.M. | 20.6
0
[5 empty] | 0 | .
0
| Structutal Steel |  |  |  | 0
| All Steel Works to be to B.S 449 |  |  |  | 0
0
| Roof Structure (Provisional) |  |  |  | 0
| Structural steelwork to B.S 449 primed with RED OXIDE with and including fillet welds and Spary painted with 2 Coats Gloss Oil Paint of an approved colour as CROWN paints or Other Equal and approved source |  |  |  | 0
| The following trussess/steel members hoisted approximately 6000mm above ground level in trusses not exceeding 11,000mm span and including all cutting, wastes, fabrication, 6mm fillet welding, jointing , stiffener plates, anchorage and bolting to Engineers detail and approval. |  |  |  | 0
C | 60 x 40 x 3mm SHS members Rafters and bottom chords fixed to Engineer's detail | L.M. | 450.4
D | 40 x 40 x 3mm SHS members Struts & Ties ditto | L.M. | 348.5
E | 40 x 40 x 3mm Purlins approx. 1200mm c/c and including connection bolts as per Engineers details all anchored to Truss using Angle Cleats/weld to Engineers detail | L.M. | 280
F | Anti-Sag rods, diameter 12 mm including fixing to Engineers detail and approval | L.M. | 40
G | 40 x 40 x 3mm L - shape (Angles) Bracing to Trusess fixed to Engineer's detail | L.M. | 40
0
0
| Rainwater disposal |  |  |  | 0
H | 200x2mm mild steel fascia bould with moulded edges, fixing to approval to steel roof structure members, primed on both sides and painted on the outside surface in three coats gloss paint to approval | L.M. | 52
I | 180mm moulded plastic box Gutter complete with all fittings to Engineers details, fixing to approval to steel roof structure members. | L.M. | 40
J | 110 mm Dia. PVC down rainwater pipe complete with fittings, primed and gloss painted to approval. | L.M. | 24
K | Extra for swan neck bend. | NO. | 4
L | Ditto horse shoe bend. | NO. | 4
M | Ditto outlet. | NO. | 4
N | End Plate | NO. | 4
Sub- Total Page 5 Taken to Summary Page
ITEM | DESRIPTION | UNIT | QTY | RATE (Kshs) | AMOUNT (Kshs)
6 | 6.0: FINISHES
Cement/sand (1:3) as described in:-
A. | 50 mm Thick cement/ sand rendered floor mixed with red oxide powder | S.M. | 200
PVC tiles supplied of approved type and source to screeded beds as described in:-
H. | Floors | S.M.
I. | Ex 100 x 10 mm Thick H/W skirting including varnishing | L.M.
Wall finishes
Pointing
Cement/sand (1:3),steel trowelled smooth to:-
B | Flash joints internally | S.M. | 348
C. | Keyed joints externally | S.M. | 348
Emulsion paint
Prepare surface and apply one mist coat and 3 finishing coats of high quality gloss oil paint of approved colour as manufactured and supplied by CROWN PAINTS or BASCO PAINTS similar approved to:-
D | Plastered walls surfaces internally | S.M. | 65
E | Metallic surfaces | S.M. | 5
Prepare surface and apply one mist coat and 3 finishing coats of high interior quality Permacote/ Weather Guard paint of approved colour as manufactured and supplied by CROWN PAINTS or BASCO PAINTS similar approved to:-
F | Rendered walls surfaces externally | S.M. | 65
6.0 Ventilation
A. | Precast concrete vents laid in 1:3 cement mortar | S.M | 13.5
7.0 DOORS
A3. | Ditto. But 900 x 2100mm high single doors | NO.
A4. | Ditto. But 800 x 2100mm high | NO.
In mild steel
A | 4000 x 3000 x 3 mm high rolling door Steel casement door, with all rolling rails and rollers, fixing lugs welded together including all ironmongery, priming in CROWN ZINC chromate and 3 coats gloss painting, all to engineers details and approval. | NO. | 1
Sub- Total Page 6 Taken to Summary Page

## Parking (hidden)
JOB NO. RW/KGL/9037/12
PROPOSED MOUNT KENYA UNIVERSITY - KICUKIRO CAMPUS |  |  |  | ROAD, PARKING, FOOTPATHS & STORM WATER DRAINAGE
|  | UNIT | QTY | RATE | RWF
ALL QUANTITIES PROVISIONAL
Roads & Parking
Excavations
A. | Excavate not exceeding 600mm, part return, fill in and ram selected granular material; including supporting sides and keeping bottom free from fallen materials and water, load and cart away surplus. | CM. |  | 4000 | 0
B. | Extra over for excavating in hard rock. | C.M. |  | 10000 | 0
Surface treatment
C. | Grade and compact subgrade, 100% M.D.D. as described, to
| receive roads. | S.M. |  | 2100 | 0
D. | Trim and compact sides of cuttings or embankments. | S.M. |  | 127 | 0
Sub-base and base courses
E. | Stabilised Murram base in layers of not more than 150mm compacted to 100% of compaction at optimum moisture content, 300 mm thick. | S.M. |  | 2700 | 0
F. | Crushed gravel from an approved source , 150 mm thick. | S.M. |  | 6500 | 0
G. | Medium duty paving blocks size 210x105x60mm (minimum strength 45N/mm2) laid on and including 50mm sand bed and compacted by surface vibration. | S.M. |  | 20000 | 0
Precast concrete kerbs and channels to B.S. 340
H. | 127 x 254 mm Kerb, half battered on one corner, laid on and including concrete (1:3:6) base size 450 x 100 mm and 225 x 100 mm haunched up behind. | L.M. |  | 13600 | 0
J. | Ditto curved to various radii. | L.M. |  | 16300 | 0
K. | 125 x 100 mm Channel block laid on and including (1:3:6)
| bases size 300 x 100 mm. | L.M. |  | 8500 | 0
L. | Ditto curved on plan to various radii. | L.M. |  | 10200 | 0
STORMWATER DRAINAGE
Precast concrete finished fair and bedded, jointed and
pointed in cement and sand (1:3) mortar
M. | Invert drain size 450 x 225 mm thick (maximum) with 300 mm ø dished channel laid and jointed in 600 mm lengths on and including 75 mm thick murram bed and including excavation and carting away and including 2 rows PCC Side Slabs | L.M. |  | 11900 | 0
N. | Excavate600/1200mm Trapezodial Earth Channel not exceeding 1200mm, part return, fill in and ram selected granular material; including supporting sides and keeping bottom free from fallen materials and water, load and cart away surplus. | L.M. |  | 6000 | 0
|  |  |  | C/F | 0
|  |  |  | B/F | 0
P. | Headwall comprising : 300 mm thick chisel dressed natural stone walling in cement (1:4) mortar : 1800 mm girth x 1200 m high on 50 mm thick concrete class 10/20 blinding : allow for leaving or cutting opening for large pipe in masonry walling and building in ends of pipe : all necessary painting, formwork, excavation, backfilling and disposal | NO. |  | 135000 | 0
Spun concrete cylindrical pipes and fittings to B.S.556, part 2 with spigot and socket joints
Q. | 225 mm ø Pipe surrounded with 100 mm concrete class 15/20 all round and including all excavations, backfill and disposal. | L.M. |  | 22500 | 0
R. | 450 mm ø Pipe surrounded with 150 mm concrete class 15/20 all round and including all excavations, backfill and disposal. | L.M. |  | 45000 | 0
S. | Stormwater sump as per engineers details : consisting of 150 mm class 25 reinforced concrete bed and cover slab : 150 mm (average) benching : 50 mm class 7 concrete blinding : 150 mm masonry walls : 12 mm thick (1:3) cement and sand render to sides of walls and benching : all necessary formwork, excavation, backfilling and disposal : including (650 mm x 550 mm Standard triangular heavy duty manhole cover and frame to BS EN 124 : cover set in grease : with two coats bituminous paint before setting in position), Build end of 225 mm diameter UPVC pipe in manholes
T. | 900 x 900 mm Internally : 1500 mm deep | NO. |  | 275000 | 0
FOOT PATHS
Paving slabs
U. | 600 x 600 x 50 mm Precast concrete paving slabs bedded, jointed and grouted in cement and sand (1:1)onto and including 100mm thick compacted murram, 50mm thick sand bed and 150 x 50mm Precast concete Edging. | S.M. |  | 9570 | 0
Natural Stone Retaining Walls in (1:3) mortar as described and including, expansion joints and weep holes in:-
Z. | 400 mm Thick walling reinforced at each alternate course with hoop iron. | S.M. |  | 40000 | 0
| TOTAL COST CARRY TO PHASE I SUMMARY |  |  | RWF | 0

## fOUL (hidden)
JOB NO. RW/KGL/9037/12
PROPOSED MOUNT KENYA UNIVERSITY - KICUKIRO CAMPUS |  |  |  | FOUL WATER DRAINAGE
|  | UNIT | QTY | RATE | RWF
ALL QUANTITIES PROVISIONAL
The following in 1 No. 9,000 ltrs capacity septic tank
Excavation including maintaining and supporting sides and
keeping free from water, mud and fallen materials
A. | Excavate pit not exceeding 1.50 metres deep. | C.M. |  | 4000 | 0
B. | Ditto over 1.50 m but not exceeding 3.00 m deep. | C.M. |  | 4000 | 0
C. | Extra over for excavating in soft rock. | C.M. |  | 7000 | 0
D. | Ditto in hard rock. | C.M. |  | 10000 | 0
Disposal
E. | Return, fill in and ram selected excavated material around
| foundations. | C.M. |  | 1200 | 0
F. | Load surplus excavated material and cart away. | C.M. |  | 2500 | 0
Mass concrete (1:3:6), as described in:-
G. | 50 mm Blinding to bed. | S.M. |  | 5000 | 0
Reinforced concrete class 20, as described in:-
H. | 200 mm Base slab. | S.M. |  | 29100 | 0
J. | 150 mm Suspended slab. | S.M. |  | 21825 | 0
K. | 600 x 450 mm Medium Duty Mahnole cover and Frame | NO. |  | 70000 | 0
Reinforcement (Provisional)
L. | Bar reinforcement of assorted sizes. | KG. |  | 1350 | 0
Mesh fabric reinforcement
M. | B.R.C mesh fabric reinforcement ref. A 142 laid in surfaces bed with 300 mm side and end laps (measured nett-no allowance for laps). | S.M. |  | 2500 | 0
Formwork, as described to:-
N. | Soffits of suspended slab. | S.M. |  | 6500 | 0
P. | Vertical side of walls. | S.M. |  | 6500 | 0
Q. | Edges of suspended slab over 75 mm but not exceeding
| 150 mm high. | L.M. |  | 975 | 0
R. | Boxing for opening size 600 x 450 mm in 150 mm slab. | NO. |  | 2275 | 0
S. | Ditto size 400 x 450 mm in ditto. | NO. |  | 2600 | 0
Precast concrete class 25, as described, finished fair on
all edges
T. | 100 mm Baffle wall size 1800 x 800 mm high reinforced with and
including 10 mm mild steel bars at 100 mm centres both ways and
| built into masonry wall. | NO. |  | 120000 | 0
U. | 100 mm Dividing wall size 1800 x 2000 mm high
reinforced with and including mesh fabric reinforcement
| ref: A. 142. and with 300 x 200mm slots @ 600mm c/c. | NO. |  | 167000 | 0
|  |  |  | C/F | 0
|  |  |  | B/F | 0
Precast concrete class 25, as described, finished fair on
all edges
T. | 100 mm Baffle wall size 1800 x 800 mm high reinforced with and
including 10 mm mild steel bars at 100 mm centres both ways and
| built into masonry wall. | NO. |  | 120000 | 0
U. | 100 mm Dividing wall size 1800 x 2000 mm high
reinforced with and including mesh fabric reinforcement
| ref: A. 142. and with 300 x 200mm slots @ 600mm c/c. | NO. |  | 167000 | 0
Concrete Block walling
V. | 200 mm Walling. | S.M. |  | 18000 | 0
W. | 100 mm ø Hole in 200 mm wall. | NO. |  | 7000 | 0
12 mm Sulphate resistant waterproof cement and sand
(1:3) render, as described to:-
X. | 200 mm Walls. | S.M. |  | 4000 | 0
Y. | 150 mm Base slab. | S.M. |  | 4000 | 0
Metal work
Z. | Manhole cover frame to approved size and grouted into
| concrete. | L.M. |  | 8000 | 0
Soakage pit (1No.)
AA. | Excavate pit not exceeding 1.50 m deep and load and
| cart away. | C.M. |  | 4000 | 0
AB. | Ditto over 1.50 m but not exceeding 3.00 m deep. | C.M. |  | 4000 | 0
AC. | Ditto over 3.00 m but not exceeding 4.50 m deep. | C.M. |  | 4000 | 0
AD. | Approved stone filling in pit. | C.M. |  | 12000 | 0
AE. | 100 mm Masonry wall, as before. | S.M. |  | 15000 | 0
AF. | 100 mm Diameter hole in 100 mm wall. | NO. |  | 5000 | 0
Mass concrete (1:4:8), as described in:-
AG. | 50 mm Blinding. | S.M. |  | 5000 | 0
Reinforced concrete class 25 as described in:-
AH. | 150 mm Slab including formwork. | C.M. |  | 145500 | 0
AI. | 75 mm Cover slab with and including B.R.C. A. 142 size
| 600 x 450 mm. | NO. |  | 48500 | 0
Precast concrete as before
AJ. | 75 mm Cover slab size 1200 x 2300 mm, reinforced with and
including 10 mm bars 200 mm both ways including an opening
size 600 x 450 mm and bedding cover on pit (measured
| provisionally). | NO. |  | 145500 | 0
AK. | Manhole frames to approved size grouted into concrete. | L.M. |  | 8000 | 0
0
0
The following in 20 No. manholes size 600 x 450 mm
(internal) and 1500 mm deep
AL. | Excavate for manholes not exceeding 1.50 m deep from
| reduced level. | C.M. |  | 4000 | 0
AM. | Return, fill in and ram selected excavated material around
| manhole walls. | C.M. |  | 1200 | 0
AN. | Remove surplus excavated material, load and cart away to
| where shown on site. | C.M. |  | 2500 | 0
AO. | Extra over excavation for excavating in soft rock. | C.M. |  | 7000 | 0
Mass concrete (1:3:6), as described in:-
AP. | 50 mm Blinding. | S.M. |  | 5000 | 0
Concrete class 20 as before
AQ. | 150mm Base | S.M. |  | 21825 | 0
AR. | Benching size 900 x 1000 mm average 250 mm deep including
forming main and branch channels and finishing with 12 mm
water-proof sulphate resistant cement and sand render
| trowelled smooth. | NO. |  | 21825 | 0
AS. | 125 mm Suspended cover slab in R.C. class 20. | S.M. |  | 18187.5 | 0
Reinforcement
AT. | 10 mm ø High tensile reinforcement, as before described. | KG. |  | 1350 | 0
Mesh fabric reinforcement to B.S. 4485
AU. | Mesh reinforcement No. A. 142 (measured nett-no allowance
| made for laps) in manhole bases. | S.M. |  | 2500 | 0
AV. | Soffits of suspended slab. | S.M. |  | 6500 | 0
AW. | Edges of suspended slab over 75 mm but not exceeding
| 150 mm high. | L.M. |  | 975 | 0
AX. | Boxing for opening size 600 x 450 mm in 125 mm slab. | NO. |  | 11000 | 0
Concrete Block as before in:-
AY. | 200 mm Walling. | S.M. |  | 18000 | 0
AZ. | Hole in 190 mm masonry for drain pipe and make good. | NO. |  | 250 | 0
BA. | 12 mm Cement sand (1:3) waterproof, sulphate resistant
| rendering to walls. | S.M. |  | 4000 | 0
BB. | Precast concrete 75 mm Slab to manhole covers and frames size 600 x 450 mmto approved size grouted into concrete. | NO. |  | 48500 | 0
0
0
Pipe runs and surroundings
UPVC pipework and fittings
BC. | 100 mm ø - 1800.4.60 pipe. | L.M. |  | 2000 | 0
BD. | 150 mm ø - 1837.4 Access pipe. | L.M. |  | 3000 | 0
BE. | 150 mm ø - 1838.4.45 R Branch. | NO. |  | 3000 | 0
BF. | 150 mm ø - 1801.4.87 Bend. | NO. |  | 3000 | 0
Excavation and Earthworks
BG. | Excavate trench not exceeding 1.50 m deep and average
600 mm wide, part return, fill in and ram in selected granular
material; including supporting sides and keeping bottom free from
| fallen materials and water. | L.M. |  | 2000 | 0
Excavation and Earthworks (Cont'd)
BH. | Extra over excavation for excavating in Hard rock. | C.M. |  | 8000 | 0
BJ. | 150 mm Mass concrete class 15 bed and haunch 450 mm high to
| 150 mm pipe. | L.M. |  | 600 | 0
Connecting & Testing
BK. | Allow for connection point to existing site and testing for the
entire foul water drainage system to the satisfaction of the
| Architect and Engineeer. | ITEM |  | 1300000 | 0
| TOTAL COST CARRY TO PHASE I SUMMARY |  |  | RWF | 0

## Plumbing (hidden)
JOB NO. RW/KGL/9037/12
PROPOSED MOUNT KENYA UNIVERSITY - KICUKIRO CAMPUS |  |  |  | PLUMBING & DRAINAGE
ITEM | DESRIPTION | UNIT | QTY | RATE | RWF
1 | SANITARY FITTINGS
Supply, install test and commission the following sanitary fittings as specified:
A | WATER CLOSET (W.C.) SUITE
| Twyfords “CLASSIC” Low level cistern WC Suite in white vitreous china , comprising Catalogue No. CC1138WH bowl with horizontal Outlet; No.CC2841WH 6 litre cistern and fittings with side inlet and overflow with chrome plated lever; No. ST1302WH heavy duty plastic seat and cover , No. WF 1241WH WC outlet connector or equal and approved. | No |  | 255000 | 0
B | WATER CLOSET (W.C.) SUITE
| Twyfords “GALERIE OPTIMISE HO” close coupled WC in white vitreous china , comprising Catalogue No. GP1148WH bowl with Horizontal Outlet; No.GP2496WH cistern and fittings with total install dual flush 6/4 litres push button; No. GP7815WH heavy duty seat and cover , No. WF 1224WH S or Turned P connector or equal and approved. | No |  | 285500 | 0
C | RECESSED IN WALL TOILET ROLL HOLDER
| Built in toilet roll holder in white vitreous china , recessed to the wall . As Twyfords No. VC9806WH or equal and approved. | No |  | 25500 | 0
D | WALL MOUNTED ANTI-THEFT TOILET ROLL HOLDER
| Wall mounted toilet roll holder, vandal proof, commercial type to dispense big rolls, approximates size: diameter 273mm, depth 120mm. Material: ABS plastic. | No |  | 16500 | 0
E | COAT HOOK
| Coat hook, Satin aluminium. As Twyfords No.PB0204SI OR equal and approved. | No |  | 9900 | 0
F | WASH HAND BASIN -COUNTERTOP
| Twyfords "ADVENT 540" Counter top Wash hand basin with one tap hole and chain stay hole, size 565 x 425 mm in white vitreous china No. AD4531WH. Complete with chrome plated 32mm chain waste and plug , 15mm diameter chrome plated press action non-concussive pair pillar tap with, chrome plated bottle P-Trap with extension pipe to wall. or equal and approved. | No |  | 165500 | 0
|  |  |  | C/F | 0
|  |  |  | B/F | 0
A. | WASH HAND BASIN -COUNTERTOP
| Twyfords "VISTA MEDICAL 590" Countertop Wash hand basin with two tap holes and no chain stay hole, size 550 x 430 mm in white vitreous china No. VI1722WH. Complete with 32mm chrome plated grid waste NO. WF4341CP, 15mm diameter lever action mixer fitting with swivel nozzle and divided flow No. SF1077CP, chrome plated bottle P-Trap with extension pipe to wall. or equal and approved. | No |  | 185000 | 0
MIRRORS
B. | Mirrors shall be installed above all W.H.B’s to be 600mm x 600mm x 6mm thick,bevelled edge mirror. | No |  | 49500 | 0
0
C. | BOWL URINAL -SET OF 2 |  |  | 0
| Tywford “CAMDEN” bowl urinal No. VC7003WH in white vitreous china complete fixture with comprising No. SS 6072 SS exposed stainless steel flush pipes and spreaders, No. CX 8612 WH 9 litres auto cistern and fittings, No. SR 5307 XX pair bowl supports, No. WF 8411 CP 40mm chrome plated bottle P- trap No. WF 9370 XX 40 mm outlet grating. No. VC8051 division and No. SR5706XX division hangers OR equal and approved. | SET |  | 650500 | 0
0
D. | SHOWER TRAY |  |  | 0
| TWYFORDS "CALYPSO" shower tray No. FC3103WH in microlith ceramic, size 800 x 800 x 110mm complete with 40mm diameter chrome plated grid waste fitting No. WF4343CP. Or equal and approved. | No |  | 247500 | 0
E. | SHOWER MIXER FITTINGS
| Bricon 3/4 " shower mixer unit, heavy pattern, built in type comprising :- 1 pair No. 628-20 stopcocks ECCP, 1 No. 060 bath spout, CP, 178mm long, with sliding wall flange, 1 No. 061 four way control cock, CP, 1 No.027 overhang shower arm, CP, with sliding wall flange, 1 No. 068BJ 1/2'' x 50mm diameter shower rose, CP, cone shaped, with ball joint connection. Or equal and approved. | No |  | 140250 | 0
F. | TOWEL RAIL
| Similar or equal to Twyfords No. IC6873CP Towel rails 19mm diameter chrome plated with exposed screws. | No |  | 12375 | 0
G. | SOAP DISH
| Twyfords No. VC 9808 WH soap dish recessed into the wall OR equal and approved. | No |  | 16500 | 0
|  |  |  | C/F | 0
|  |  |  | B/F | 0
A. | GRAB RAILS
| Twyfords "AVALON HINGED SUPPORT RAIL" No. AV4911WH without toilet rool loder, in Nylon coated Aluminium for use in disabled toilet facilities. This fixture must be securely fixed to a solid wall. This item folds up against the wall to provide wheelchair access | No |  | 247500 | 0
LABORATORY SINK AND MIXER
B. | Twyfords flanged laboratory sink ref. FC1415 size 420 x 315 x 160mm. The sink shall be made from enameled fireclay. The sink shall have a self-draining base and an outlet recessed to accept and be complete with the following VULCATHENE fittings: 504 38mm diameter BSP waste, having a 76mm diameter flange, 507 standing waste tube to suite 504 waste and to be supplied with a hanging loop and to be 160mm high. | No |  | 280925 | 0
C. | LABORATORY SINK MIXER
| Single flow water mixers with mounting fitting tap, 57mm fixing flanges with inlet concealed supply. The top shall be complete with multiple outlet fitting with one swivel and one fixed nozzles. It shall be as ARMITAGE SHANKS Marklab Laboratory Fittings Ref. No.85394KM or equal and aprroved. Side valves to have fixed spouts. | No |  | 210000 | 0
D. | STAINLESS STEEL KITCHEN SINK
| Stainless steel kitchen sink as Associated Steel Ltd. Range cat. No. ASL 140 overall size 1000 x 500mm and bowl size 420 x 355 x 150mm. single bowl,single drainer complete with 40mm diameter Chrome plated chain waste and plug, plastic “P” trap and 20mm diameter wall type BRICON bib tap . | No |  | 148500 | 0
E. | GLASS HOLDER
| Wall mounted Chrome plated glass holder as GROHE "ALLURE" OR equal and approved. | No |  | 16500 | 0
F. | LIQUID SOAP DISPENSER
| Mediclinics DJOO30 liquid soap dispenser in stainless steel AISI 304 body. With top filling lid and push button. With epoxy finish. Or equal and approved. | No |  | 99000 | 0
|  |  |  | C/F | 0
|  |  |  | B/F | 0
A. | HAND DRYER
| Mediclinics Sensor operated hand drier, steel 1.9mm thick one piece cover , chrome bright finish. Size 248 x 278 x 210mm.Effective air flow 330m3/hr Electrical power supply 2.25kW, single phase 240V 50 Hz. | No |  | 99000 | 0
B. | PAPER TOWEL DISPENSER
| Kimberly -Clark Product Code - SA099060 , Slim fold paper towel dispenser. Size 350 x 220 x 70mm or equal and approved. A modern, stylish, ABS dispenser adds class to any washroom. Dispenses a new sheet every time for hygiene and economy Locking design discourages pilfering. To prevent time-wasting emergency refills, a transparent view window shows when a refill is due. Top-up system allows new towels to be placed on the towels already there to prevent running out. | No |  | 99000 | 0
2 | INTERNAL COLD WATER PLUMBING
General Note:-
Price of pipework to include the cost of couplings, connectors, fixing brackets, holderbats, plugs and jointing to fittings etc., together with marking of pipe routes on walls and Floors for wall chasing and holes cutting by others all as required in the pipework installation and protection of burried pipework with bitumen and woven fibreglass.
All pipe work shall be PPR PN 16 and fittings to DIN 8077 and 8078.
Price of pipework to include the cost of couplings, connectors, fixing brackets, holderbats, plugs and jointing to fittings etc., together with marking of pipe routes on walls and Floors for wall chasing and holes cutting by others all as required in the pipework installation and protection of burried pipework with bitumen and woven fibreglass.
All pipe work shall be PPR PN 20 and fittings to DIN 8077 and 8078.
COLD WATER SUPPLY SYSTEM
PIPEWORK
C. | 65mm diameter pipe | LM |  | 7425 | 0
0
D. | 50mm diameter pipe | LM |  | 5775 | 0
0
E. | 40mm diameter pipe | LM |  | 3300 | 0
0
F. | 32mm diameter pipe | LM |  | 2062.5 | 0
0
G. | 25mm diameter pipe | LM |  | 1402.5 | 0
0
|  |  |  | C/F | 0
|  |  |  | B/F | 0
| ELBOWS/ELBOW |  |  | 0
A. | 65mm diameter | No |  | 2062.5 | 0
0
B. | 50mm diameter | No |  | 2062.5 | 0
0
C. | 40mm diameter | No |  | 1650 | 0
0
D. | 32mm diameter | No |  | 495 | 0
0
E. | 25mm diameter | No |  | 330 | 0
0
| TEES |  |  | 0
F. | 65 x 65 x 65mm diameter | No |  | 3300 | 0
0
G. | 65 x 65 x 50mm diameter | No |  | 3300 | 0
0
H. | 65 x 65 x 40mm diameter | No |  | 3300 | 0
0
J. | 65 x 65 x 32mm diameter | No |  | 3300 | 0
0
K. | 65 x 50 x 50mm diameter | No |  | 3300 | 0
0
L. | 65 x 40 x 32mm diameter | No |  | 3300 | 0
0
M. | 65 x 65 x 32mm diameter | No |  | 3300 | 0
0
N. | 50 x 50 x 40mm diameter | No |  | 2475 | 0
P. | 50 x 40 x 40mm diameter | No |  | 2475 | 0
0
Q. | 50 x 40 x 25mm diameter | No |  | 2475 | 0
0
R. | 40 x 40 x 32mm diameter | No |  | 2475 | 0
0
S. | 40 x 40 x 25mm diameter | No |  | 2062.5 | 0
0
T. | 40 x 32 x 32mm diameter | No |  | 2475 | 0
0
U. | 40 x 32 x 25mm diameter | No |  | 2475 | 0
0
V. | 32 x 32 x 32mm diameter | No |  | 2062.5 | 0
0
W. | 32 x 32 x 25mm diameter | No |  | 2062.5 | 0
0
|  |  |  | C/F | 0
|  |  |  | B/F | 0
TEES
A. | 32 x 25 x 25mm diameter | No |  | 825 | 0
0
B. | 25 x 25 x 25mm diameter | No |  | 825 | 0
0
C. | 25 x 20mm diameter reducer | No |  | 825 | 0
0
| GATE VALVES |  |  | 0
D. | 65mm diameter high pressure screw down full way non-rising stem wedge gate valve to BS 5154 for series B rating, with wheel and head joints to tubing. The gate valve to be a PEGLER or approved equivalent. | No |  | 49500 | 0
0
E. | 50mm diameter ditto | No |  | 37125 | 0
0
F. | 40mm diameter ditto | No |  | 28875 | 0
0
G. | 32mm diameter ditto | No |  | 23100 | 0
0
H. | 25mm diameter ditto | No |  | 10725 | 0
0
J. | 40mm diameter high pressure ball valve | No |  | 24750 | 0
0
| SOCKETS |  |  | 0
K. | 65mm diameter | No |  | 1485 | 0
0
L. | 50mm diameter | No |  | 990 | 0
0
M. | 40mm diameter | No |  | 742.5 | 0
0
N. | 32mm diameter | No |  | 495 | 0
0
P. | 25mm diameter | No |  | 330 | 0
UNIONS
Q. | 65mm diameter | No |  | 4125 | 0
0
R. | 50mm diameter | No |  | 4125 | 0
0
S. | 40mm diameter | No |  | 3300 | 0
0
T. | 32mm diameter | No |  | 2475 | 0
0
U. | 25mm diameter | No |  | 1650 | 0
0
|  |  |  | C/F | 0
|  |  |  | B/F | 0
A. | COPPER TUBING |  |  | 0
| 15mm Diameter to be a maximum length of 300mm each complete with connecting couplers per length. | No |  | 2475 | 0
0
B. | ROOF LEVEL WATER TANK |  |  | 0
| Supply, deliver and Assemble a High level water tanks, made of pressed steel sectional tank plates 6mm thick plates (type 1 and 4) and of size 1000mm x 1000mm capacity of Tank to be 9,000 litres and of preferred dimensions 3000mm x 3000mm x 1000mm. The Tank to come complete with tank cover, mosquito proof inspection vent, internal stays, jointing material, bolts and nuts including applying two coats of non-toxic bituminous paint on the inside and two coats of aluminum paint on the outside. | No |  | 3300000 | 0
0
C. | ROOF LEVEL WATER TANK |  |  | 0
| Supply, deliver and Assemble a High level water tanks, made of pressed steel sectional tank plates 6mm thick plates (type 1 and 4) and of size 1000mm x 1000mm capacity of Tank to be 6,000 litres and of preferred dimensions 3000mm x 2000mm x 1000mm. The Tank to come complete with tank cover, mosquito proof inspection vent, internal stays, jointing material, bolts and nuts including applying two coats of non-toxic bituminous paint on the inside and two coats of aluminum paint on the outside. | No |  | 2475000 | 0
0
D. | STERILIZATION |  |  | 0
| Allow for flushing out and sterilization of the cold water system as required to the satisfaction of the engineer. | Sum |  | 800250 | 800250
0
E. | TESTING AND COMMISSIONING |  |  | 0
| Allow for testing and commissioning of the entire plumbing installation to the satisfaction of the Engineer | Sum |  | 600250 | 600250
|  |  |  | C/F | 1400500
|  |  |  | B/F | 1400500
3 | INTERNAL HOT WATER SUPPLY INSTALLATION
General Note:-
Price of pipework to include the cost of couplings, connectors, fixing brackets, holderbats, plugs and jointing to fittings etc., together with marking of pipe routes on walls and Floors for wall chasing and holes cutting by others all as required in the pipework installation.
The following in PN 20PPRC conforming to the current European standards for PPR installations and to the Engineers approval, pipe jointing shall be by polyfusion or use of electric coupling. Rates must allow for all Metal/Plastic threaded adaptors where required for the connection of sanitary fixtures, support raceways , isolating sheaths, elastic materials, expansion arms and bends, crossovers etc.
Exposed Pipes to be insulated.
PIPEWORK
A | 40mm diameter pipe | Lm |  | 2145 | 0
0
B | 32mm diameter pipe | Lm |  | 2145 | 0
0
C | 25mm diameter pipe | Lm |  | 1732.5 | 0
0
| BENDS |  |  | 0
D | 40mm diameter bend | No |  | 660 | 0
0
E | 32mm diameter bend | No |  | 495 | 0
0
F | 25mm diameter bend | No |  | 495 | 0
0
| TEES |  |  | 0
G | 40x 40 x 25mm diameter | No |  | 1100 | 0
0
H | 40 x 32 x 25mm diameter | No |  | 1065 | 0
0
I | 32 x 32 x 32mm diameter | No |  | 1050 | 0
0
J | 32 x 32 x 25mm diameter | No |  | 950 | 0
0
K | 32 x 25 x 25mm diameter | No |  | 950 | 0
0
L | 25 x 25 x 25mm diameter | No |  | 907.5 | 0
0
M | 25 x 20mm diameter reducer | No |  | 907.5 | 0
0
|  |  |  | C/F | 1400500
|  |  |  | B/F | 1400500
| SOCKETS |  |  | 0
A. | 40mm diameter | No |  | 495 | 0
0
B. | 32mm diameter | No |  | 330 | 0
0
C. | 25mm diameter | No |  | 495 | 0
UNIONS
D. | 40mm diameter | No |  | 495 | 0
0
E. | 32mm diameter | No |  | 330 | 0
0
F. | 25mm diameter | No |  | 495 | 0
. |  |  |  | 0
G. | GATE VALVES |  |  | 0
| 32mm diameter high pressure screw-down full way non-rising stem solid wedge disc gate valve to BS 5154 PN 16 for Series B Rating with wheel head and including jointing to steel tubing. As CRANE Model 156 or equal and approved | No |  | 12375 | 0
0
H. | HOT WATER CYLINDER |  |  | 0
| 20-gallon galvanised mild steel hot water cylinder to BS 417, complete with screwed bosses for cold water supply, drain cock, hot water supply, expansion pipes and for 1 No. 3 kW electric immersion heater element and thermostat. Cylinder to be complete with a 50mm thick fibreglass jacket with 22-gauge aluminium cladding. | No |  | 123750 | 0
0
J. | HOT WATER CYLINDER |  |  | 0
| 30-gallon galvanised mild steel hot water cylinder to BS 417, complete with screwed bosses for cold water supply, drain cock, hot water supply, expansion pipes and for 1 No. 3 kW & 1.5 kW electric immersion heater element and thermostat. Cylinder to be complete with a 50mm thick fibreglass jacket with 22-gauge aluminium cladding. | No |  | 181500 | 0
0
|  |  |  | C/F | 1400500
|  |  |  | B/F | 1400500
K. | HOT WATER CYLINDER |  |  | 0
| 40-gallon galvanised mild steel hot water cylinder to BS 417, complete with screwed bosses for cold water supply, drain cock, hot water supply, expansion pipes and for 1 No. 3 kW & 1.5 kW electric immersion heater element and thermostat. Cylinder to be complete with a 50mm thick fibreglass jacket with 22-gauge aluminium cladding. | No |  | 247500 | 0
0
L. | STERILIZATION |  |  | 0
| Allow for sterilization including flushing out water and chlorine to the satisfaction of the Engineer. | Sum |  | 82500 | 82500
0
M. | TESTING AND COMMISSSIONING |  |  | 0
| Test and commission the entire internal hot water supply to the satisfaction of the Engineer. | Sum |  | 82500 | 82500
4 | INTERNAL DRAINAGE
Supply, install, test and commission the following complete:
General Note.
Prices for pipework shall include the cost for couplings, connectors and jointing to fittings appliances etc., and fixing brackets all as required in the pipework installation, together with for wall chasing and holes cutting by others.marking pipe routes on walls and floors
Note for U.P.V.C. pipework:
All UPVC couplings, branches, tees etc., are to be formed strictly in accordance with the manufacture’s interactions. Jointing pipework by “ heat formed sockets” etc., shall not be accepted.
U.P.V.C. Soil, Waste and Ventilation Pipes and fittings to B.S. No. 5255
PIPEWORK
N. | 40mm waste pipe fixed to wall or wall chase including approved pipe clips or brackets. | LM |  | 1200 | 0
0
Q. | 50mm - ditto- | LM |  | 1300 | 0
0
S. | 100mm – ditto- | LM |  | 2600 | 0
0
|  |  |  | C/F | 1565500
|  |  |  | B/F | 1565500
| SWEEP BEND |  |  | 0
A. | 40mm diameter | No |  | 850 | 0
0
B. | 50mm diameter | No |  | 950 | 0
0
C. | 100mm diameter | No |  | 5500 | 0
0
D. | 100mm long radius bends | No |  | 5500 | 0
.
| TEES |  |  | 0
E. | 40mm diameter | No |  | 660 | 0
0
F. | 50mm diameter | No |  | 1031.25 | 0
0
G. | 100 x 40mm diameter reducer | No |  | 1650 | 0
0
| No. 136 “TERRAIN” ACCESS CAP |  |  | 0
H. | 40mm diameter | No |  | 495 | 0
0
J. | 50mm diameter | No |  | 825 | 0
0
K. | 100mm diameter | No |  | 1650 | 0
0
| BOSS CONNECTIONS |  |  | 0
L. | 40mm diameter | No |  | 1031.25 | 0
0
M. | 50mm diameter | No |  | 1237.5 | 0
N. | No. 125 WC CONNECTOR | No |  | 4950 | 0
0
P. | WEATHERING APRON TERRAIN No. 131 | No |  | 12375 | 0
0
Q. | VENT COWL TERRAIN No. 150.2 | No |  | 825 | 0
0
R. | 100MM DIAMETER SINGLE BRANCH | No |  | 2062.5 | 0
0
S. | 100MM DIAMETER DOUBLE BRANCH | No |  | 2062.5 | 0
0
| UNDERGROUND UPVC PIPEWORK TO BS 4660:1963 GOLDEN BROWN SERIES |  |  | 0
0
T. | 100mm soil and waste pipe laid in or under concrete Floor slab or underground | LM |  | 2475 | 0
0
U. | 150 ditto. | LM |  | 4125 | 0
|  |  |  | C/F | 1565500
|  |  |  | B/F | 1565500
0
A. | FLOOR TRAP |  |  | 0
| Floor trap as “ Key Terrain” 281.3 trapped Floor gully, 282.6 Floor gully inlet and grating. | No |  | 4950 | 0
0
B. | GULLY TRAP |  |  | 0
| Gully trap chamber size 250 x 250mm, approximately 400mm deep in 150mm block work with cement mortar joints, on 150mm thick mass concrete slab, and plastered inside, for 100mm trap and hopper. 40mm thick , 250 x 250mm p.c.c. cover to gully trap chamber and provided with 40mm ventilating hole. | No |  | 124750 | 0
0
C. | INSPECTION CHAMBER |  |  | 0
| Internal chambers not to exceed 1070 x 910mm and depth not to exceed 2000mm below finished floor or ground level. Wall thickness should be 150mm blockwork and it should have concrete base and rendered concrete benchinching 1:3:6 mix. The cover to be cast iron Grade "B" medium duty to BS 497 with double seal. | No |  | 199000 | 0
0
D. | TESTING AND COMMISSIONING |  |  | 0
| Allow for testing and commissioning of the entire drainage installation to the satisfaction of the Engineer | Sum |  | 841250 | 841250
LABORATORY DRAINAGE
E. | Vulcathene 910G – Dilution recovery trap liquid capacity 4.5 litres with a trap seal of 76mm and three top inlet connections the Visual Version with base of heat resistant borosilicate glass fro identification of solid units to be complete with horizontal inlet adaptor, vertical inlet, glass dip tube and blanking off plug together with a suitable support stand. | No |  | 360937.5 | 0
0
| Pipework |  |  | 0
| Supply and fix the following in Vulcathene mechanical pipe and fittings system |  |  | 0
0
F. | 40mm diameter pipe | Lm |  | 16500 | 0
0
G. | 50mm diameter ditto. | Lm |  | 20625 | 0
0
|  |  |  | C/F | 2406750
|  |  |  | B/F | 2406750
| Extra over vulcathene pipes for:- |  |  | 0
0
A. | 40mm diameter bend | No |  | 4125 | 0
0
B. | 50mm diameter bend | No |  | 5775 | 0
0
C. | 40mm diameter equal tee | No. |  | 4125 | 0
0
D. | 50mm diameter equal tee | No. |  | 5775 | 0
0
E. | 40mm diameter pipe Loose Nut coupler W15 “series” | No. |  | 33000 | 0
0
F. | 4.5 litres floor gulley trap type W.810 with 76mm outlet complete with silt bucket | No. |  | 452512.5 | 0
0
G. | 40mm diameter W 24 “series” blanking – off plug | No. |  | 15675 | 0
0
H. | W23”series” nuts | No |  | 15675 | 0
0
J. | 50mm diameter boss connection | No |  | 15675 | 0
0
K. | 40mm diameter vulcathene anti-siphon bottle trap | No |  | 15675 | 0
0
L. | TESTING AND COMMISSIONING |  |  | 0
| Allow for testing and commissioning of the entire drainage installation to the satisfaction of the Engineer | Sum |  | 841250 | 841250
5 | FIRE FIGHTING
Supply and install the following fire fighting equipment and fittings as described and shown on the drawings
PORTABLE FIRE EXTINGUISHER
M. | 9 litre water Co2, fire extinguisher complete with refill cartridges and wall fixing brackets complying with B.S 5423. | No |  | 49500 | 0
0
N. | 4.5kg carbon dioxide gas extinguisher carbon dioxide gas extinguisher brackets and complying with B.S 5423 | No |  | 74250 | 0
0
|  |  |  | C/F | 3248000
|  |  |  | B/F | 3248000
A. | FIRE FIGHTING HOSE REELS |  |  | 0
| Supply and install |  |  | 0
| Make: Similar or equal and approved to ‘TG’ |  |  | 0
| Series Hose Reels type with the following |  |  | 0
| characteristics: |  |  | 0
| Manual operation |  |  | 0
| swinging type |  |  | 0
| Delivery valves 25mm BSP inlet to |  |  | 0
| B.S 1010 | No |  | 247500 | 0
| Mild steel feed to B.S 1387 |  |  | 0
0
| FIRE FIGHTING PIPEWORK |  |  | 0
| All pipes shall be heavy gauge galvanized mild steel pipes to B.S1387 and fittings to B.S. 1740 (class C) . Price of pipework to include the cost of couplings, connectors, fixing brackets, holderbats, plugs and jointing to fittings etc., together with marking of pipe routes for wall chasing and holes cutting by others all as required in pipework installation. |  |  | 0
B. | 25mm diameter pipe | Lm |  | 2887.5 | 0
0
C. | 40 mm diameter pipe | Lm |  | 9075 | 0
0
| BENDS |  |  | 0
D. | 25mm diameter bend | No |  | 2062.5 | 0
0
E. | 40mm diameter bend | No |  | 3712.5 | 0
0
| TEES |  |  | 0
F. | 40X 40X 40mm diameter | No |  | 2475 | 0
0
G. | 40 X 40 X 25mm diameter | No |  | 2475 | 0
0
H. | 40 X 25 mm diameter reducer | No |  | 2475 | 0
0
| GATE VALVES TO BS 5151:1974 |  |  | 0
J. | 40mm diameter | No |  | 28875 | 0
0
K. | 25mm diameter | No |  | 10725 | 0
0
| NON RETURN VALVES TO BS 5151:1974 |  |  | 0
L. | 40mm diameter | No |  | 28875 | 0
UNION
M. | 40mm union joint | No |  | 2887.5 | 0
0
N. | 25mm union joint | No |  | 1650 | 0
0
|  |  |  | C/F | 3248000
|  |  |  | B/F | 3248000
| SOCKETS |  |  | 0
A. | 40mm union joint | No |  | 825 | 0
0
B. | 25mm union joint | No |  | 495 | 0
0
| FIRE FIGHTING BOOSTER PUMP |  |  | 0
C. | Shall be as "GRUNDFOS " automatic booster pump |  |  | 0
| model: CH12-30 or approved equivalent. |  |  | 0
| Capacity: 2.5 litres/sec. |  |  | 0
| Head: 22m |  |  | 0
| Power supply: 1.5kw, 1phase 240v, 50Hz. |  |  | 0
| Duty and standby. |  |  | 0
| Complete with: matching pressure vessel, pressure switch, pressure cell, valves, and any other accessories necessary for efficient operation . Pump and accessories to be mounted on a rigid steel framework. | Set |  | 4537500 | 0
0
D. | PUMP CONTROLS |  |  | 0
| Supply, deliver and install a control panel with removable front access cover, motor control gear, internal buttons with automatic change over “running” and “trip” neon lights control system, overload, protection, power surge protection, button for change from automatic to manual operation plus any other necessary controls | No |  | 825000 | 0
0
E. | ELECTRICAL POWER SUPPLY |  |  | 0
| Allow for pumps wiring from the local isolator. | Sum |  | 82500 | 82500
0
F. | Allow for primimg and finish painting of installation with 3 No. coats of paint to the Engineers approval. | Sum |  | 165000 | 165000
0
G. | TESTING AND COMMISSIONING |  |  | 0
| Allow for testing and commissioning the entire fire fighting system to the satisfaction of the Engineer. | Sum |  | 841250 | 841250
|  |  |  | C/F | 4336750
|  |  |  | B/F | 4336750
6 | EXTERNAL WATER RETICULATION
All pipes shall be heavy gauge galvanized mild steel pipes to B.S 1387 and fittings to B.S 1740 (class C)
PIPEWORK
A | 50mm diameter pipe (provisional) | Lm |  | 17425 | 0
0
B | 25mm diameter pipe (provisional) | Lm |  | 1650 | 0
0
| BENDS |  |  | 0
C | 50mm diameter bend | No |  | 16500 | 0
0
D | 25mm diameter bend | No |  | 1650 | 0
0
| TEES |  |  | 0
E | 50 X50 X 25mm diameter | No |  | 1650 | 0
0
| GATE VALVES TO BS 5151:1974 |  |  | 0
F | 50mm diameter | No |  | 82500 | 0
0
G | 25mm diameter | No |  | 10725 | 0
0
| UNION |  |  | 0
H | 50mm union joint | No |  | 2887.5 | 0
0
I | 25mm union joint | No |  | 1650 | 0
0
| SOCKETS |  |  | 0
J | 50mm socket joint | No |  | 495 | 0
0
K | 40mm socket joint | No |  | 495 | 0
0
| TRENCHING |  |  | 0
L | Excavate trench, including leveling , ramming bottoms, dackfilling ( average 600mm deep) | Lm |  | 2000 | 0
0
M | Allow for connecting to existing water supply using a 50mm diameter pipe. |  |  | 0
0
N | Heavy duty garden tap suitable for hose connection as Cobra Watertech or equal and approved. | No |  | 24750 | 0
0
P. | Allow for testing the whole plumbing work during progress or works and again on completion to the satisfaction of the Engineer. | Sum |  | 555000 | 555000
DEDUCT COSTS IN PHASE I
| Deduct the Costs of for all Plumbing, Drainage andFire Fighting and including builders works to be executed during construction of the structure in Phase I ( As priced in Page 18 Item E of this Bills of Quantities) |  |  |  | #REF!
| TOTAL COST CARRY TO PHASE II SUMMARY |  |  | RWF | #REF!

## Electr (hidden)
JOB NO. RW/KGL/9037/12
PROPOSED MOUNT KENYA UNIVERSITY - KICUKIRO CAMPUS |  |  |  | ELECTRICAL INSTALLATION
ITEM | DESCRIPTION | UNIT | QTY | RATE | RWF
RWF
1.0. | SCHEDULE 1.0
1.1 | ELECTRICITY SUPPLY
C | 150mm diameter PVC HG duct for incoming Electricity supply line. (Provisional) | M |  | 5040 | 0
2.0. | SCHEDULE 2.0
2.1 | MAIN LV SWITCHBOARD
Supply, install, test and commission the following items;
A | 300A TPN wall mounted switchgear complete with 300A TPN BUSBARS on normal supply and 250A TPN BUSBARS on maintained supply and with enough space to accommodate accessories as shown in Drg No. DCE/11/38/07E service cut-outs, Neutral and Earth blocks, cable chamber, 2No Tp spares and all necessary accessories.
| The switchboard SHALL BE as manufactured by an approved manufacturer, but excluding the following | No |  | 3240000 | 0
0
B | 250A TPN MCCB with shunt trip | No |  | 396000 | 0
0
C | 200A TP MCCB | No |  | 324000 | 0
0
D | 63A TP MCCB | No |  | 252000 | 0
0
E | 10A TP MCCB | No |  | 158400 | 0
0
F | 10A DP MCCB | No |  | 68400 | 0
0
G | Earthing | ITEM |  | 32400 | 0
|  |  |  | C/F | 0
|  |  |  | B/F | 0
3 | DISTRIBUTION
Supply, install, test and commission the following items;
A | 5x16mm2 single core pvc insulated copper cables in 38mm diameter pvc hg conduit from main LV switchboard in ground floor to Distribution Board 'G' in ground floor. | M |  | 11520 | 0
0
B | 5x16mm2 single core pvc insulated copper cables in 38mm diameter pvc hg conduit from main LV switchboard in ground floor to Distribution Board 'G1' in ground floor. | M |  | 11520 | 0
0
C | 5x16mm2 single core pvc insulated copper cables in 38mm diameter pvc hg conduit from main LV switchboard in ground floor to Distribution Board 'K' in ground floor. | M |  | 11520 | 0
0
D | 5x16mm2 single core pvc insulated copper cables in 38mm diameter pvc hg conduit from main LV switchboard in ground floor to Distribution Board 'W' in ground floor. | M |  | 11520 | 0
0
E | 5x16mm2 single core pvc insulated copper cables in 38mm diameter pvc hg conduit from main LV switchboard in ground floor to Distribution Board 'F' in first floor. | M |  | 11520 | 0
0
F | 5x16mm2 single core pvc insulated copper cables in 38mm diameter pvc hg conduit from main LV switchboard in ground floor to Distribution Board 'F1' in first floor. | M |  | 11520 | 0
0
G | 5x16mm2 single core pvc insulated copper cables in 38mm diameter pvc hg conduit from main LV switchboard in ground floor to Distribution board 'U' in First floor | M |  | 11520 | 0
0
|  |  |  | C/F | 0
|  |  |  | B/F | 0
0
H | 5x16mm2 single core pvc insulated copper cables in 38mm diameter pvc hg conduit from main LV switchboard in ground floor to Distribution Board 'S' in second floor. | M |  | 11520 | 0
J | 5x16mm2 single core pvc insulated copper cables in 38mm diameter pvc hg conduit from main LV switchboard in ground floor to Distribution Board 'S1' in second floor. | M |  | 11520 | 0
K | 3x4mm2 single core pvc insulated copper cables in 32mm diameter pvc hg conduit from main LV switchboard in ground floor to Fire alarm panel in ground floor | M |  | 3240 | 0
0
L | 5x 4mm2 single core pvc insulated copper cables in 32mm diameter pvc hg conduit from main LV switchboard in ground floor to fire hosereel booster pump. | M |  | 4680 | 0
0
M | 20A TPN switch disconnector | No. |  | 23040 | 0
0
N | 5x 4mm2 single core pvc insulated copper cables in 32mm diameter pvc hg conduit from main LV switchboard in ground floor to water booster pump. | M |  | 4680 | 0
0
P | 20A TPN switch disconnector | No. |  | 23040 | 0
|  |  |  | C/F | 0
|  |  |  | B/F | 0
4 | GROUND FLOOR
4.1 | LIGHTING
Supply, install, test and commission the following items;
A | Lighting point wired using 3x1.5mm2 single cables in 20mm diameter PVC HG conduit for one way switching. | No |  | 17325 | 0
0
B | As above but for two way switching | No |  | 18375 | 0
0
C | One way one gang switch | No |  | 2100 | 0
0
D | Two way one gang switch | No |  | 2625 | 0
0
E | Two way two gang switch | No |  | 3360 | 0
0
F | Two way three gang switch | No |  | 3780 | 0
0
G | Two way six gang switch | No |  | 6300 | 0
0
4.2 | TYPES OF LUMINAIRES |  |  | 0
0
A | Type A2 | No |  | 48960 | 0
0
B | Type 2 | No |  | 25200 | 0
0
C | Type F1 | No |  | 21600 | 0
0
D | Type F2 | No |  | 25920 | 0
0
E | Type 5D | No |  | 207000 | 0
0
F | Type D | No |  | 31500 | 0
0
G | Type 2D | No |  | 31500 | 0
0
H | Type L | No |  | 40500 | 0
0
J | Type W | No |  | 40500 | 0
0
K | Type 4A | No |  | 51840 | 0
0
L | Type 5C | No |  | 103000 | 0
|  |  |  | C/F | 0
|  |  |  | B/F | 0
4.3 | POWER
A | Power point wired using 3x2.5mm2 single cables in 25mm diameter PVC HG conduit | No |  | 25200 | 0
0
B | 13A single switched socket outlet | No |  | 4200 | 0
0
C | 13A twin switched socket outlet | No |  | 6300 | 0
0
D | 13A twin switched socket outlet with neon indicator | No |  | 7875 | 0
0
E | 20A DP switch with neon indicator | No |  | 7875 | 0
0
F | 100mm diameter pvc hg duct for incoming Telephone line | M |  | 2100 | 0
0
G | Telephone manhole for incoming telephone line | No |  | 84000 | 0
0
H | 2x50mm diameter pvc hg duct from Telephone manhole to Telephone adaptable box in ground floor | M |  | 2310 | 0
0
J | 200x150x75mm Telephone adaptable box | No |  | 24150 | 0
0
K | 2x32mm diameter pvc hg conduit link for telephone from telephone adaptable box in ground floor to telephone adaptable box in first floor | M |  | 1890 | 0
0
L | Photocell completely wired with bypass switch | No |  | 47250 | 0
0
M | 45A 24V 50Hz DP Contactor | No |  | 68250 | 0
0
N | Extract fan points wired in 3 x 1.5mm2 single cables in 2omm diameter pvc hg conduit. | No |  | 17325 | 0
0
P | Allow a provisional sum of Rwf 900,000.00 for K itchen equipment power supply. |  |  | 0 | 900000
0
Q | 3x16mm2 single core pvc insulated copper cables in 32mm diameter pvc hg conduit from UPS in first floor to consumer unit in ground floor. | M |  | 12075 | 0
0
R | Type Z luminaires | No |  | 189000 | 0
S | 5M metallic columns for items above | No |  | 78750 | 0
T | 2.5mm2 2c armoured cable for items above | M |  | 4410 | 0
0
U | Trenching,tiling and backfilling. | M |  | 3150 | 0
0
V | 50mm diameter pvc hg duct encased in concrete | M |  | 1260 | 0
0
W | AC circuit wired in 5 x 6mm2 single cables in 32mm diameter pvc hg conduit. | M |  | 7980 | 0
X | 30A TPN switch disconnetor | No |  | 36750 | 0
|  |  |  | C/F | 900000
|  |  |  | B/F | 900000
4.4 | CONSUMER UNITS AND PROTECTIVE DEVICES
A | 100A 4way SPN MCB Consumer unit 'U1' in ground floor excluding protective devices | No |  | 47250 | 0
0
B | 10 SP MCB | No |  | 9975 | 0
0
C | 20A SP MCB | No |  | 9975 | 0
0
D | 30A SP MCB | No |  | 9975 | 0
0
E | Blanking plates | No |  | 1050 | 0
0
F | 100A 6 way TPN MCB Distribution board 'G' in ground floor excluding protective devices | No |  | 194250 | 0
0
G | 10 SP MCB | No |  | 9975 | 0
0
H | 30A SP MCB | No |  | 9975 | 0
J | 20A TP MCB | No |  | 22050 | 0
0
K | Blanking plates | No |  | 1050 | 0
0
L | 100A 6 way TPN MCB Distribution board 'G1' in ground floor excluding protective devices | No |  | 194250 | 0
0
M | 10 SP MCB | No |  | 9975 | 0
0
N | 20A SP MCB | No |  | 9975 | 0
0
P | 60A SP MCB | No |  | 9975 | 0
0
Q | Blanking plates | No |  | 1050 | 0
0
R | 100A 4 way TPN MCB Distribution board 'W' in ground floor excluding protective devices | No |  | 173250 | 0
0
S | 30 SP MCB | No |  | 9975 | 0
0
T | 20A SP MCB | No |  | 9975 | 0
0
U | 60A SP MCB | No |  | 9975 | 0
0
V | Blanking plates | No |  | 1050 | 0
|  |  |  | C/F | 900000
|  |  |  | B/F | 900000
4.5 | FIRE ALARM SYSTEM
Supply, install, test and commission the following items;
A | Fire alarm power point wired in 4mm2 2C FP 200 Fire resistant cable plus earth aluminium tape screen LOSH sheath 300/500v in 25mm diameter PVC HG conduit. | M |  | 21600 | 0
0
B | 20A DP unswitched switch with neon indicator | No |  | 9000 | 0
0
C | Conventional 4 zone fire alarm detection panel, complete with 72Hr standby batteries as per specifications. | No |  | 685000 | 0
0
D | Final alrm circuit from the fire alrm detection panel to fire alrm detectors wired using 1.5mm2 2C FP200 fire resistant cable plus earth aluminium tape screen LOSH sheath 300/500v in 20mm diameter PVC HG conduit. | No |  | 30000 | 0
0
E | Conventional manual call point complete with all necessary accessories | No |  | 42000 | 0
0
F | Conventional optical smoke detector complete with all necessary accessories | No |  | 85000 | 0
0
G | Conventional fixed temperature het detector complete with all necessary accessories | No |  | 85000 | 0
0
H | Conventional 150mm sounder complete with all necessary accessories | No |  | 80000 | 0
0
J | allow for testing and commissioning of the entire fire alarm system by the Fire Alarm Specialist supplier. | ITEM |  | 400000 | 0
|  |  |  | C/F | 900000
|  |  |  | B/F | 900000
5 | FIRST FLOOR
5.1 | LIGHTING
Supply, install, test and commission the following items;
A | Lighting point wired using 3x1.5mm2 single cables in 20mm diameter PVC HG conduit for one way switching. | No |  | 17325 | 0
B | As above but for two way switching | No |  | 18375 | 0
C | One way one gang switch | No |  | 2100 | 0
D | Two way one gang switch | No |  | 2625 | 0
E | Two way two gang switch | No |  | 3360 | 0
5.2 | TYPES OF LUMINAIRES
A | Type A2 | No |  | 48960 | 0
B | Type 2 | No |  | 25200
C | Type F1 | No |  | 21600 | 0
D | Type F2 | No |  |  | 0
E | Type 5C | No |  | 103000 | 0
|  |  |  | C/F | 900000
|  |  |  | B/F | 900000
5.2 | POWER
A | Power point wired using 3x2.5mm2 single cables in 25mm diameter PVC HG conduit | No |  | 25200 | 0
B | 13A single switched socket outlet | M |  | 4200 | 0
C | 13A twin switched socket outlet | No |  | 6300 | 0
D | 13A twin switched socket outlet with neon indicator | No |  | 7875 | 0
E | 20A DP switch with neon indicator | No |  | 7875 | 0
F | 2x50mm diameter pvc hg duct from Telephone manhole to Telephone adaptable box in ground floor | M |  | 2310 | 0
G | 200x150x75mm Telephone adaptable box | No |  | 24150 | 0
H | 2x32mm diameter pvc hg conduit link for telephone from telephone adaptable box in ground floor to telephone adaptable box in first floor | M |  | 1890 | 0
J | Extract fan points wired in 3 x 1.5mm2 single cables in 2omm diameter pvc hg conduit. | No |  | 17325 | 0
K | 3x16mm2 single core pvc insulated copper cables in 32mm diameter pvc hg conduit from UPS in first floor to consumer unit in ground floor. | M |  | 0 | 0
|  |  |  | C/F | 900000
|  |  |  | B/F | 900000
5.3 | CONSUMER UNITS AND PROTECTIVE DEVICES
A | 100A 6 way TPN MCB Distribution board 'F' in first floor excluding protective devices | No |  | 194250 | 0
B | 10 SP MCB | No |  | 9975 | 0
C | 30A SP MCB | No |  | 9975 | 0
D | 60A SP MCB | No |  | 9975 | 0
E | Blanking plates | No |  | 720 | 0
F | 100A 4 way TPN MCB Distribution board 'F2' in first floor excluding protective devices | No |  | 173250 | 0
G | 10 SP MCB | No |  | 9975 | 0
H | 20A SP MCB | No |  | 9975 | 0
J | 60A SP MCB | No |  | 9975 | 0
K | Blanking plates | No |  | 720 | 0
L | 100A 4 way TPN MCB Distribution board 'U' in first floor excluding protective devices | No |  | 173250 | 0
M | 60 SP MCB | No |  | 9975 | 0
N | 20A SP MCB | No |  | 9975 | 0
P | 60A SP MCB | No |  | 9975 | 0
Q | Blanking plates | No |  | 720 | 0
|  |  |  | C/F | 900000
|  |  |  | B/F | 900000
5.4 | FIRE ALARM SYSTEM
Supply, install, test and commission the following items;
A | Fire alarm power point wired in 4mm2 2C FP 200 Fire resistant cable plus earth aluminium tape screen LOSH sheath 300/500v in 25mm diameter PVC HG conduit. | M
B | 20A DP unswitched switch with neon indicator | No
C | Conventional 4 zone fire alarm detection panel, complete with 72Hr standby batteries as per specifications. | No
D | Final alrm circuit from the fire alrm detection panel to fire alrm detectors wired using 1.5mm2 2C FP200 fire resistant cable plus earth aluminium tape screen LOSH sheath 300/500v in 20mm diameter PVC HG conduit. | No |  | 30000 | 0
E | Conventional manual call point complete with all necessary accessories | No |  | 42000 | 0
F | Conventional optical smoke detector complete with all necessary accessories | No |  | 85000 | 0
G | Conventional fixed temperature het detector complete with all necessary accessories | No
H | Conventional 150mm sounder complete with all necessary accessories | No |  | 80000 | 0
J | allow for testing and commissioning of the entire fire alarm system by the Fire Alarm Specialist supplier. | ITEM |  | 400000 | 0
|  |  |  | C/F | 900000
|  |  |  | B/F | 900000
6 | SECOND FLOOR
6.1 | LIGHTING
Supply, install, test and commission the following items;
A | Lighting point wired using 3x1.5mm2 single cables in 20mm diameter PVC HG conduit for one way switching. | No |  | 17325 | 0
B | As above but for two way switching | No |  | 18375 | 0
C | One way one gang switch | No |  | 2100 | 0
D | Two way one gang switch | No |  | 2625 | 0
E | Two way two gang switch | No
F | Two way eight gang switch | No |  | 1200 | 0
G | Intermediate switch | No |  | 450 | 0
6.2 | TYPES OF LUMINAIRES
A | Type A2 | No |  | 48960 | 0
B | Type 2 | No |  |  | 0
C | Type F1 | No |  | 21600 | 0
D | Type F2 | No |  |  | 0
E | Type 5D | No |  |  | 0
F | Type D | No |  | 31500 | 0
G | Type 5C | No |  | 103000 | 0
H | Type SL | No |  | 4600 | 0
J | Type E | No |  | 4600 | 0
|  |  |  | C/F | 900000
|  |  |  | B/F | 900000
6.3 | POWER
A | Power point wired using 3x2.5mm2 single cables in 25mm diameter PVC HG conduit | No |  | 25200 | 0
C | 13A single switched socket outlet | No |  | 4200 | 0
D | 13A twin switched socket outlet | No |  | 6300 | 0
E | 13A twin switched socket outlet with neon indicator | No |  | 7875 | 0
F | 20A DP switch with neon indicator | No |  | 7875 | 0
G | 2x50mm diameter pvc hg duct from Telephone manhole to Telephone adaptable box in ground floor | M |  | 2310 | 0
H | 200x150x75mm Telephone adaptable box | No |  | 24150 | 0
J | 2x32mm diameter pvc hg conduit link for telephone from telephone adaptable box in ground floor to telephone adaptable box in first floor | M |  | 1890 | 0
K | Extract fan points wired in 3 x 1.5mm2 single cables in 2omm diameter pvc hg conduit. | No |  | 17325 | 0
L | 3x16mm2 single core pvc insulated copper cables in 32mm diameter pvc hg conduit from UPS in first floor to consumer unit in second floor. | M |  | 8280 | 0
|  |  |  | C/F | 900000
|  |  |  | B/F | 900000
6.4 | CONSUMER UNITS AND PROTECTIVE DEVICES
A | 100A 6 way TPN MCB Distribution board 'S' in second floor excluding protective devices | No |  | 194250 | 0
B | 10 SP MCB | No |  | 6840 | 0
0
C | 30A SP MCB | No |  | 6840 | 0
0
D | Blanking plates | No |  | 720 | 0
E | 100A 4 way TPN MCB Distribution board 'S1' in second floor excluding protective devices | No |  | 173250 | 0
F | 10 SP MCB | No
G | 20A SP MCB | No |  | 6840 | 0
H | 20A TP MCB | No |  | 6840 | 0
J | Blanking plates | No |  | 720 | 0
|  |  |  | C/F | 900000
|  |  |  | B/F | 900000
6.5 | FIRE ALARM SYSTEM
Supply, install, test and commission the following items;
A | Fire alarm power point wired in 4mm2 2C FP 200 Fire resistant cable plus earth aluminium tape screen LOSH sheath 300/500v in 25mm diameter PVC HG conduit. | M
B | 20A DP unswitched switch with neon indicator | No
C | Conventional 4 zone fire alarm detection panel, complete with 72Hr standby batteries as per specifications. | No
D | Final alrm circuit from the fire alrm detection panel to fire alrm detectors wired using 1.5mm2 2C FP200 fire resistant cable plus earth aluminium tape screen LOSH sheath 300/500v in 20mm diameter PVC HG conduit. | No |  | 30000 | 0
E | Conventional manual call point complete with all necessary accessories | No |  | 42000 | 0
F | Conventional optical smoke detector complete with all necessary accessories | No |  | 85000 | 0
G | Conventional fixed temperature het detector complete with all necessary accessories | No
H | Conventional 150mm sounder complete with all necessary accessories | No |  | 80000 | 0
J | allow for testing and commissioning of the entire fire alarm system by the Fire Alarm Specialist supplier. | ITEM |  | 400000 | 0
DEDUCT COSTS IN PHASE I
K. | Deduct the Costs of for all Electrical Engineering Services bulders works, conduiting and pipping works to be executed during construction of the structure in Phase I ( As priced in Page 18 Item D of this Bills of Quantities) |  |  |  | #REF!
| TOTAL COST CARRY TO PHASE II SUMMARY |  |  | RWF | #REF!

## AC (hidden)
JOB NO. RW/KGL/9037/12
PROPOSED MOUNT KENYA UNIVERSITY - KICUKIRO CAMPUS |  |  |  | AIR CONDITIONING
ITEM | DESRIPTION | UNIT | QTY | RATE | RWF
Supply, deliver, install, test and commission the following Air Conditioning and mechanical ventilation fittings and equipment:
CONTERENCE HALL
A | MULTI SPLIT UNITS CONDENSING UNIT
Toshiba Super Modular Multi System (SMMS) Model MMY - AP1601HT8 Outdoor condensing unit or equal and approved. Cooling Capacity153,000BTU/HR (16HP), operating on green refrigerants complete with the following:
strong, durable and corrosion resistant casing suitable for outdoor installation
Axial blower fan
Over temperature and over current protection for fan
Phase failure protection
2 No. Compressors with high and low pressure cut outs
Service access and control valves
Automatic capacity control of 50% and 100% by pass control
Discharge and suction temperature sensors
Linear Expansion Valves
Controller breaker unit
Refrigerant leakage sensor
| Electrical load: 11.8 kW, 3 phase 415v . Or equal and approved. | No. | 1 | 600000 | 600000
INDOOR UNITS
B | Variable Indoor Unit, four way Ceiling Cassette air conditioning unit of Cooling capacity of 11.2kW (36000Btu/hr) . Electrical load: single phase, 240V, 50Hz. As MMU-AP361H or equal and approved. Prices to include:- all the necessary refrigerant pipes, condensate pipes, pvc sleeves, clips, tapes, cables, steel supports for the unit and all the necessary accessories for the installations. | No. |  | 180000 | 0
C | Y - Branches | No. |  | 9000 | 0
D | Allow for all refrigerant pipework and all necessary accessories for the installation | Sum | Item | 50000 | 50000
E | Allow for 25mm diameter pvc condensate pipes and fittings | Lm |  | 300 | 0
F | Allow for charging the system with refrigerant as per the manufacturer,s specifications | No. | 1 | 20000 | 20000
G | Allow for suitable mounting supports for the indoor units with approved steel members | No. |  | 400000 | 400000
|  |  |  | C/F | 1070000
|  |  |  | B/F | 1070000
A | Allow for mounting the outdoor unit on a concrete plinth to Structural Engineers approval | No. | 1 | 40000 | 40000
B | Allow for electrical supply from the local isolators provided by others including supply and installation of approved power surge protector. | Sum | Item | 10000 | 10000
C | Allow for the controls of the air conditioning units including wiring and thermostats | Sum | Item | 20000 | 20000
D | Allow for testing, commissioning and leaving it in good working condition | Sum | Item | 10000 | 10000
MANAGING DIRECTOR'S OFFICE
Ceiling Cassette Split Air Conditioning Unit
E | Four way ceiling mounted cassette split air conditioning unit of 7.1kW (24,000 Btu/hr) cooling capacity as TOSHIBA model RAV-SM802VT-E size 840 x 840 x 256mm complete with outdoor unit model RAV-SP802AT -E size 795 x 900 x 300mm to match indoor unit. Electrical power supply; 2.55 kW, single phase, 240V, 50HZ OR Equal and approved. Prices to include all the necessary refrigerant pipes, condensate pipes, pvc sleeves, clips, tapes, cables and all the necessary accessories for the installations. | No | 1 | 360000 | 360000
|  |  |  | C/F | 1510000
|  |  |  | B/F | 1510000
A | Wall/Glass mounted extract fans capable of handling 240m3/hr as "XPELAIR WX6" or equal and approved. Electrical power: 0.035kW , single phase, 240V, 50Hz. The prices to include: Glass/Wall mounting kit, fan controls and any other necessary accessory. Or equal and approved. | No. |  | 40000 | 0
B | Ceiling mounted extract fans capable of handling 63m3/hr as "XPELAIR CMF171" or equal and approved. Electrical power: 0.03kW , single phase, 240V, 50Hz. The prices to include: 4000mm long 100mm diameter flexible duct, termination kit with wall grille and any other necessary accessory. | No. |  | 80000 | 0
C | Electrical Connections
| Power supply shall be provided by others upto the local fused isolator. Allow for connection of power from the isolator to all the fans including the controls. | Sum | Item | 30000 | 30000
D | Testing & Commissioning
| Allow for Setting to work,Testing & Commissioning of the whole of the Mechanical Ventilation Installation to the satisfaction of the Mechanical Engineer. | Sum | Item | 10000 | 10000
| TOTAL COST CARRY TO PHASE II SUMMARY |  |  | RWF | 1550000

## Prov.Sums (hidden)
JOB NO. RW/KGL/9037/12
PROPOSED MOUNT KENYA UNIVERSITY - KICUKIRO CAMPUS |  |  |  | GENERAL ITEMS & PROVISIONAL SUMS
|  | UNIT | QTY | RATE | RWF | Underground Tank
| Provisional Items may be executed or ommitted all together |  |  |  |  | Retaing Walls | 19000000
[6 empty] | Landsacping | 5000000
[6 empty] | Gatehouse | .
| Curtain Rails |  |  |  |  | Foul drainage | 15000000
A. | Provide a Provisional Sum of Rwf. 2,000,000.00 for External Works to be expended as directed by the Architect/Client and to be measured and valued upon execution by the Quanity Surveyor | Item |  |  |  | Parking | 19926000
B. | Contigency Sum
| Provide a Provisional Sum of Rwf. 23,000,000.00 Contigency Sum to be expended as directed by the Architect/Client and to be measured and valued upon execution by the Quanity Surveyor | Item | 0 |  |  | Water Tank | 0
C. | UPS
Allow a provisional sum of Rwf 6,000,000.00 for UPS to be expended as directed by the Architect/Client and to be measured and valued upon execution by the Quanity Surveyor
D. | Structured Cabling
Allow a provisional sum of Rwf 9,000,000.00 for structured cabling installation to be expended as directed by the Architect/Client and to be measured and valued upon execution by the Quanity Surveyor
E | Fluctuation Contigency Sum
| Allow for a Provisional Sum of Rwf. 5,000,000.00 for Fluctuations to be evaluated at Dayworks Rates current at commencement of contract to form basis of change in unit rates of materials and labour at any time during the currency of the contract. Such changes shall be evaluated in accordance to the conditions of contract. | Item |  |  |  | Water Tank | 0
TOTAL COST CARRY TO PHASE II SUMMARY
RWF

## Dayworks (hidden)
JOB NO. RW/KGL/9037/12
PROPOSED MOUNT KENYA UNIVERSITY - KICUKIRO CAMPUS |  |  |  | DAY WORKS
|  | UNIT | QTY | RATE | RWF
ALL QUANTITIES PROVISIONAL
Provisional Items may be executed or ommitted all together
Note
Payments for “MATERIALS ON SITE” during construction shall be based on the Daywork Rates inserted hereinafter for Materials or at 65% of the rates entered elsewhere for Builders’ Work items, whichever is lower.
PLANT
The rates inserted herein are to include all operational and maintenance costs, fuel, grease, drivers’ and turnboys’ wages, supervision, overheads, profits and taxes Only time actually employed upon the work will be paid for, and the rates should include for idle time, travelling and overtime.
Where marked thus ……………………(diameter) the Contractor should insert the name of the model proposed for use. All items of plant must be priced. If the prices quoted by the Contractor are not comparable with market rates the Engineer shall be entitled to use market rates instead.
A. | Small hand propelled vibrating roller ………………….. (diameter) | Hrs | 10 | 9000 | 90000
B. | Whacker hand compactor or equivalent | Hrs | 10 | 5000 | 50000
C. | 7 ton tipper lorry | Hrs | 10 | 28500 | 285000
D. | Dump truck (15 cwts) | Hrs | 10 | 21000 | 210000
E. | Compressor dia. (250 c.f.m.) complete with all tools, horses steels etc. | Hrs | 10 | 13000 | 130000
F. | 20 mm delivery water pump and motor | Hrs | 10 | 5500 | 55000
G. | Concrete mixer 14/10 | Hrs | 10 | 14000 | 140000
H. | Concrete vibrator (Poker type) | Hrs | 10 | 4000 | 40000
J. | A. Self propelled water tank 10000 litre minimum capacity with pick-up pump | Hrs | 10 | 30000 | 300000
K. | Generator (portable) 50 KVA | Hrs | 10 | 22000 | 220000
L. | Generator (portable) 100 KVA | Hrs | 10 | 22000 | 220000
M. | Welding Machine | Hrs | 10 | 4000 | 40000
|  |  |  | C/F | 1780000
|  |  |  | B/F | 1780000
N. | Mobile Crane | Hrs | 10 | 140000 | 1400000
P. | Scaffolding (for Entire Project) | Hrs | 10 | 15000 | 150000
Q. | Steel Cutting Machine | Hrs | 10 | 3000 | 30000
R. | Steel Bending Machine | Hrs | 10 | 3000 | 30000
LABOUR
The rates inserted herein are to include all costs of labour such as insurance, accommodation, travelling time, overtime, use and maintenance of small tools of the trade, supervision, overheads, profit and Taxes (BUT Exlusive V.A.T. ) Only the actual time engaged upon the work will be paid for.
S. | Unskilled labourer | Hrs | 8 | 360 | 2880
T. | Skilled labourer | Hrs | 8 | 800 | 6400
U. | Stone mason/brick layer | Hrs | 8 | 800 | 6400
V. | Carpenter / Gypsum fabricators | Hrs | 8 | 1000 | 8000
X. | Welder / Steel elements Fixer | Hrs | 8 | 1000 | 8000
Y. | Plumber | Hrs | 8 | 1100 | 8800
.
Z. | Electrician | Hrs | 8 | 1200 | 9600
AA. | P. Watchman (including fire, lights, day, night, Sunday or Public Holiday watching) | Hrs | 8 | 2000 | 16000
AB. | Mechanic/Machine Operator | Hrs | 8 | 3000 | 24000
MATERIALS
All materials are to comply with the Specification. The rates inserted herein are to include for delivery to the site, storage, handling, overheads and V.A.T.
AC. | Coarse aggregate graded 75 to 200 mm | Ton. | 10 | 10560 | 105600
0
AD. | Quarry dust | Ton. | 10 | 8980 | 89800
0
AE. | Building Sand | Ton. | 10 | 11900 | 119000
0
|  |  |  | C/F | 3794480
|  |  |  | B/F | 3794480
AF. | Marble chips grade 25 to 20 mm | Ton. | 10 | 26400 | 264000
0
AG. | Ordinary Portland Cement | Ton. | 10 | 200000 | 2000000
0
AH. | White cement | Ton. | 5 | 300000 | 1500000
0
AI. | 100 mm Concrete blocks | NO. | 100 | 450 | 45000
AJ. | 150 mm Ditto | NO. | 100 | 1100 | 110000
0
AK. | 200 mm Ditto | NO. | 100 | 1300 | 130000
0
AL. | 50 mm Thick facing bricks | NO. | 100 | 90 | 9000
0
AM. | 25 mm Thick interlocking tiles | S.M. | 10 | 15000 | 150000
0
AN. | 80 mm Paving blocks | S.M. | 10 | 14000 | 140000
0
AO. | 6 mm Thick glazed wall tiles (white) | S.M. | 10 | 14000 | 140000
0
AP. | Ditto but coloured floor | S.M. | 10 | 14000 | 140000
0
AQ. | Structural Steel/R.H.S. | TON. | 5 | 1350000 | 6750000
0
AR. | Mild Steel reinforcing bars (assorted) | TON. | 5 | 900000 | 4500000
0
AS. | Heavy duty powder coated aluminium sections 100 x 50mm | L.M. | 6 | 30600 | 183600
0
AT. | B.R.C. Mesh No. A142 | S.M. | 10 | 2150 | 21500
0
AU. | Ditto A98 | S.M. | 10 | 1800 | 18000
0
AV. | Sawn Celcured cypress | C.M. | 1 | 135000 | 135000
0
AW. | Wrot softwood | C.M. | 1 | 160000 | 160000
0
AY. | Sawn Hardwood | C.M. | 1 | 135000 | 135000
0
AZ. | Wrot Hardwood | C.M. | 1 | 165000 | 165000
0
BA. | Sawn Softwood | C.M. | 1 | 135000 | 135000
0
BB. | 25 mm or 12 mm Blockboard | S.M. | 10 | 16000 | 160000
0
BC. | 12 mm Chipboard | S.M. | 10 | 17000 | 170000
0
BD. | 12 mm MDF board | S.M. | 10 | 41200 | 412000
0
|  |  |  | C/F | 21367580
|  |  |  | B/F | 21367580
BE. | 3 mm Plywood | S.M. | 10 | 5200 | 52000
0
BF. | 6 mm Ditto | S.M. | 10 | 7800 | 78000
0
BG. | Murram | Ton. | 10 | 11100 | 111000
BH. | Hardcore | Ton. | 10 | 16250 | 162500
0
BI. | Quarry Chips/Crusher run | Ton. | 10 | 9100 | 91000
0
BJ. | Paint (Emulsion) | Litre | 20 | 3850 | 77000
0
BK. | Paint (Gloss) | Litre | 20 | 4705 | 94100
0
BL. | 4 mm Sheet glass | S.M. | 10 | 7100 | 71000
0
BM. | 6 mm ditto | S.M. | 10 | 12300 | 123000
0
BN. | 6 mm Ditto; georgian wired | S.M. | 10 | 93600 | 936000
0
BO. | 1000 Gauge polythene sheeting | S.M. | 10 | 1050 | 10500
0
BQ. | EPDM waterproofing | S.M. | 10 | 10800 | 108000
0
BR. | IT4/LT5 roof sheeting | S.M. | 10 | 22100 | 221000
0
BS. | P.V.C. Floor tiles (2 mm) | S.M. | 10 | 12500 | 125000
0
BT. | Mastic asphalt; 25 mm thick | S.M. | 10 | 36700 | 367000
0
BU. | Built-up felt for roofing (EPDM) | S.M. | 10 | 354000 | 3540000
| TOTAL COST CARRY TO PHASE II SUMMARY |  |  | RWF | 27534680

## Chlorine Dosing Room
JOB NO. NWSC/OT/22/2020/2021
CHLORINE DOSING ROOM - Lot 1B
ITEM | DESCRIPTION | UNIT | QTY | RATE (KShs) | AMOUNT (KShs)
1 | BILL 1 - PRELIMINARY AND GENERAL ITEMS
Contractual Requirements
A | Provide Kshs 100,000 as the Perfomance Bond for Lot 1A &1B | Ls | 1
B | Provide Kshs. 100,000 for all risk insurances forLot 1A &1B | Ls | 1
Provisional Sums ( Special requirements)
C | Provide Kshs. 100,000 for attendance to works by the Employer's supervision team in Lot 1A &1B | Ls | 1
D | Add 10% for contractor's Markup on provisional sum for items C above | %
| Sub-Total page 01 Taken to collection page |  |  |  | 0
ITEM | DESRIPTION | UNIT | QTY | RATE (Kshs) | AMOUNT (Kshs)
2 | 2.00: SUBSTRUCTURE
ELEMENT N0. 1
SUBSTRUCTURE (ALL PROVISIONAL)
A. | Excavate oversite average 150 mm deep to remove vegetable top soil and including cutting of shrubs, bushes and trees less than 0.5m diameter all to specifications and cart away to an approved Tip by Local Authority. | S.M. | 30
Excavations including maintaining and supporting sides, keeping free from water, mud and fallen
B. | Excavate to reduced level soil in the building area to average depth 1 m from the stripped level and cart to spoil/stock pile for re-use. | C.M. | 25
C. | Foundation trenches 0 - 1.50 m deep from reduced levels. | C.M. | 14
D. | For Column Bases 0 - 1.50 m deep from
| reduced levels. | C.M. | 13
E. | Extra over excavation for excavating in Hard rock. | C.M. | 1
F. | Ditto Soft Rock | C.M. | 1
Disposal
G. | Backfill selected excavated or imported materials to fill the uneven ground surface and around the foundations ( Rate to include the cost of mechanical compaction to 100% MDD)
|  | C.M. | 15
H. | Load, wheel and deposit surplus excavated materials to an approved dumping site by Local Authority | C.M. | 15
I. | 300 mm Thick layers of approved hardcore filling well compacted including 50 mm murram blinding. | C.M. | 20
Damp-proof membrane
J. | 1000 Gauge polythene sheeting laid over hardcore with 300 mm side and end laps (measured nett-no allowance for laps). | S.M. | 19
Anti-termite treatment
K. | Chemical anti-termite treatment as "Gladiator" or other approved insecticide to surfaces of hardcore and tops of walls. | S.M. | 19
Concrete work
Mass concrete class 15/20 aggregate as
described in:-
L. | 100 mm Thick blinding under strip foundations and Bases. | S.M. | 15
Sub-Total page 02 Taken to collection page
ITEM | DESRIPTION | UNIT | QTY | RATE (Kshs) | AMOUNT (Kshs)
Reinforced concrete class 25/20 aggregate as
described in:-
M. | Strip Foundation /Ground Beams | C.M. | 3
N. | Columns and Column Bases | C.M. | 3
O | 150 mm Thick grade slab. | CM | 3
Reinforcement (Provisional)
High tensile steel reinforcement to B.S 4461 and 4449
P | D12 Diameter bars | KG. | 120
Q | D10 Diameter bars | KG. | 180
R | D8 Diameter bars | KG. | 35
Mesh fabric reinforcement
S | B.R.C mesh fabric reinforcement ref. A 142 laid in surfaces bed with 300 mm side and end laps (measured nett-no allowance for laps). | S.M. | 10
Sawn formwork as described to:-
T | Sides of strip foundations / ground beams | S.M. | 7
U | Sides of Columns and Column Bases. | S.M. | 16
V | Sides of grade slab 150 mm thick. | SM | 4
150mm natural and hard quarry stones to foundation walling in cement and sand (1:3) mortar and even smoothened on the both sides as described and including reinforcement at each alternate course with hoop ironall materials and workmanship to Approval of the Engineer:-
W | 150 mm Thick walling reinforced at each alternate course with hoop iron. | S.M. | 35
Bituminous felt damp proof course laid on and
levelled in cement sand mortar (1:4) under:-
X | 150 mm Thick walls. | L.M. | 20
Paving slabs
Y | 600 x 600 x 50 mm Precast concrete paving slabs bedded, jointed and grouted in cement and sand (1:1)onto and including 100mm thick compacted murram and 150 x 50mm Precast concete Edging. | S.M. | 10
Sub- Total Page 3 Taken to Summary Page
ITEM | DESRIPTION | UNIT | QTY | RATE (Kshs) | AMOUNT (Kshs)
3 | 3.0: R. C. SUPERSTRUCTURE
Reinforced concrete class 25/20 aggregate as described in:-
A | Walls | CM | 9
A. | Beams | C.M. | 3
B. | Columns | C.M. | 3
Reinforcement (Provisional)
High tensile reinforcement to B.S. 4461 as described
C. | 12mm Diameter bars | KG. | 280
D. | 10 mm Diameter bars | KG. | 702
E | 8 mm Diameter bars | KG | 45
Smooth surface Marine Ply formwork as described to:-
F | Sides and soffits of beams, ring beams, walls and lintels. | S.M. | 66
G | Sides columns | S.M. | 32
4 | 4.0: WALLING
A | Demolish section of the existing masonry wall and make good the surfaces to create passage way to the new dosing unit. | SM | 10
Walling
150mm Ndarugu machine dressed natural quarry stones to walling in cement and sand (1:3) mortar to be keypointed on the external side and flash-smoothened even on the internal side as described and including reinforcement at each alternate course with hoop iron all materials and workmanship to Approval of the engineer:-
B. | 150 mm Thick walling externally | S.M. | 60
C | 150mm Ditto gable walls | S.M. | 9
Sub- Total Page 4 Taken to Summary Page
ITEM | DESRIPTION | UNIT | QTY | RATE (Kshs) | AMOUNT (Kshs)
5 | 5.0: ROOFING & RAINWATER DISPOSAL
Roof covering
A | Supply and fix galvanized plain sheet gauge 28 as instructed by the project engineer. | S.M. | 25
B | Carefully remove, and reinstate 430x330mm precast concrete roofing tiles and including the ridge cap and flashings to expose pre-existing purlins to joint the new purlins. | S.M. | 10
C | Supply and fix 430x330mm precast concrete roofing tiles and including the ridge cap and flashings. | SM | 25
Structural Timber
Roof Structure (Provisional)
Structural timber in cypress impregnated with anti termite treatment
The following trussess members hoisted approximately 3200mm above ground level in trusses not exceeding 5,000mm span and including all cutting, wastes, jointing , stiffener plates and anchorage to Engineers detail and approval.
C | 100 x 50 mm members Rafters and tie beam fixed to Engineer's detail | L.M. | 80
D | 100x50mm members Struts & Ties ditto | L.M. | 80
E | 100x50mm members wall plate ditto | L.M. | 20
F | 75x50mm members purlins ditto | L.M. | 35
H | 200x25mm timber fascia bould with chamfered edges, fixing to approval to timber roof structure members, primed on both sides and painted on the outside surface in three coats gloss paint to approval | L.M. | 15
Sub- Total Page 5 Taken to Summary Page
ITEM | DESRIPTION | UNIT | QTY | RATE (Kshs) | AMOUNT (Kshs)
6 | 6.0: FINISHES
Windows
| Fabricate, supply and fix steel casement windows size 1200mmx 1200mm complete with ironmongery, glazing with putty, stays and fasteners as instructed by the project engineer. | No | 4
Floor finishes
Cement/sand (1:3) as described in:-
A. | 50 mm Thick cement/ sand rendered floor mixed with red oxide powder | S.M. | 20
B | Prepare surface ,supply and fix 300x300x8mm thick non-skid ceramic floor tiles fixed with cement grout and including mettalic edge plates. | SM | 20
Wall finishes
Pointing
Cement/sand (1:3),steel trowelled smooth to:-
B | Plastered surfaces internally | S.M. | 65
C. | Keyed joints externally | S.M. | 65
Emulsion paint
Prepare surface and apply one mist coat and 3 finishing coats of high quality gloss oil paint of approved colour as manufactured and supplied by CROWN PAINTS or BASCO PAINTS similar approved to:-
D | Plastered walls surfaces internally | S.M. | 65
E | Metallic surfaces | S.M. | 10
Prepare surface and apply one mist coat and 3 finishing coats of high interior quality Permacote/ Weather Guard paint of approved colour as manufactured and supplied by CROWN PAINTS or BASCO PAINTS similar approved to:-
F | Rendered walls surfaces externally | S.M. | 20
6.0 Ventilation
A. | Precast concrete vents laid in 1:3 cement mortar | S.M | 6
Sub- Total Page 6 Taken to Summary Page